## Capital Needs-Reserve Schedule
Building Name | Sample Building
Year Built/Rehabbed | 2011
Age of Building | 0
Number of units
Component | Description | Typ'l Useful Life | Useful Remaining Life | Quantity | Unit Cost | Cost in 2010 $'s | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Building Systems
Plumbing supply, waste, vent pipes, hot water tank | copper supply, ABS waste | 100 | 100
Sewer & storm drainage | cast iron | 100 | 100
Elevator | Kone high efficiency | 50 | 50
Electrical distribution | circuit breaker panels, copper wiring | 50 | 50
Fire sprinklers/alarms |  | 50 | 50
HVAC | Energy Recovery Ventilator | 15 | 15 |  |  | 6000
Exterior
Exterior envelope (siding, sealants) | EFIS | 30 | 30
Exterior Trim (window, door, parapets, entry) | painted wood | 10 | 10 | 15K sq.ft. | 1 | 15000
Paint |  | 15 | 15 |  |  | 20000
Windows/Doors | double pane vinyl | 30 | 30 | 200 | 250 | 50000
Roof, flashing, vents, gutters, downspouts | hot tar with mineral cap | 20 | 20 |  |  | 25000
Intercom/security system/extrior lighting | works with personal phones | 15 | 15 |  |  | 5000
Parking lot, paving | recoat, restripe | 10 | 10 | 600 sq.ft. | 10 | 6000
Outdoor (walkways,deck/fence, landscape,irrigatn) | eco-pavers, wrought iron fence | 50 | 50
Units
paint | paint | 10 | 10 | 50 | 800 | 40000
Vinyl floor covering (kitchen bath) |  | 7 | 7 | 50 | 1000 | 50000
carpet |  | 7 | 7 | 50 | 1000 | 50000
appliances (range, hood, frig, dishwasher) | Energy Star refrigerator, range & range hood | 15 | 15 | 50 | 1200 | 60000
hot water tank | (whole house system included above) | na
kitchen cabinets, countertops | laminate | 15 | 15 | 50 | 1000 | 50000
kitchen fixtures (sink, faucet, disposal) | faucet, trap, sink, garbage disposal | 15 | 15 | 50 | 300 | 15000
bath cabinets/countertops) | 24" vanity with p-lam tops | 15 | 15 | 50 | 200 | 10000
bath fixtures (toilet,sink, tub/shower, fan, misc) | sink, faucets, toilet, tub, surrounds | 15 | 15 | 50 | 1200 | 60000
window coverings | (replace on turnover thru op budget)
Lighting fixtures | Energy Star kitchen, bath, hallway | 20 | 20 | 150 | 50 | 7500
heating | EBB and electric forced air | 15 | 15 | 50 | 200 | 10000
doors | wood entry-solid; bdrm-hollow core | 30 | 30 | 150 | 250 | 37500
Common Areas
Painting | common area halls and stairs | 10 | 10 | 15K sq.ft. | 0.4 | 6000
Floor covering | Marmoleum in all common areas | 40 | 40
Laundry appliances | 5 washers, 5 dryers--Energy Star | 15 | 15 | 10 | 600 | 6000
Exit/signage/mailboxes |  | 10 | 10 | 10 | 100 | 1000
Lighting | Energy Star,common area halls and stairs | 20 | 20 | 100 | 50 | 5000
| Sub totals each year | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Escalation (3%/year) |  |  |  |  | 3% | 100% | 103% | 106.1% | 109.3% | 112.6% | 115.9% | 119.4% | 123% | 126.7% | 130.5% | 134.4% | 138.4% | 142.6% | 146.9% | 151.3% | 155.8% | 160.5% | 165.3% | 170.2% | 175.4% | 180.6%
| SubTotal with escalation | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| WA State Sales Tax (8.9%) |  |  |  | 8.9% |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Total | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replacement Reserve Balance Beg. Of Year | [6 empty] | 50000 | 51500 | 53045 | 54636.35 | 56275.4405 | 57963.7037 | 59702.6148 | 61493.6933 | 63338.5041 | 65238.6592 | 67195.819 | 69211.6935 | 71288.0443 | 73426.6857 | 75629.4862 | 77898.3708 | 80235.322 | 82642.3816 | 85121.6531 | 87675.3027 | 90305.5617
Interest Earned on Reserve Balance | [5 empty] | 3% | 1500 | 1545 | 1591.35 | 1639.0905 | 1688.2632 | 1738.9111 | 1791.0784 | 1844.8108 | 1900.1551 | 1957.1598 | 2015.8746 | 2076.3508 | 2138.6413 | 2202.8006 | 2268.8846 | 2336.9511 | 2407.0597 | 2479.2714 | 2553.6496 | 2630.2591 | 2709.1669
Additions to Replacement Reserves | ($350/unit/yr increased 3.0% annually) | [5 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expenditures from Replacement Reserve | [6 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Replacement Reserve Balance End of Year | [6 empty] | 51500 | 53045 | 54636.35 | 56275.4405 | 57963.7037 | 59702.6148 | 61493.6933 | 63338.5041 | 65238.6592 | 67195.819 | 69211.6935 | 71288.0443 | 73426.6857 | 75629.4862 | 77898.3708 | 80235.322 | 82642.3816 | 85121.6531 | 87675.3027 | 90305.5617 | 93014.7286